# STRUCTURAL DESIGN

# Tank Model <modelo>

# Ø<diametro> m – Volume <volumen> m3

## Confidential

This report is the property of Artein Group and must not be transmitted or communicated to a third party without the prior written permission of the Company.

## Design data

| Tank details Liquid relative density: <densidadLiquido> Minimum freeboard: <bordeLibre> mm Roof type: <roofType> Dead load: <deadLoad> kN/m2 Live load: <liveLoad> kN/m2 Snow load: <snowLoad> kN/m2 Design Wind Speed: <designWindSpeed> m/s Exposure: <exposure> MCE Spectral Resp. Accln. (SS): <Ss> %g MCE spectral Resp. Accln. (S1): <S1> %g Imp. Response Mod. Factor (Ri): <Ri> Conv. Response Mod. Factor (Rc): <Rc> Site Class: <siteClass> Seismic Use Group: <seismicUseGroup> Importance Factor (Ie): <importanceFactor> Design Methodology Structural Design Code: AWWA D103-09 Bolted Joint Design Code: AWWA D103-09 Wind Stiffener Analysis: AWWA D103-09 Seismic Design: AWWA D103-09 Axial Buckling Analysis: AWWA D103-09 | Steel Type <material1> <yieldStress1> <tensileStrength1> <material2> <yieldStress2> <yieldStress2> Store Bolt Types <bolt1> <proofStress1> <tensileStrength1> <bolt2> <proofStress2> <tensileStrength2> Bolt Diameter: <boltDiameter> mm Bolt Hole Diameter: <boltHoleDiameter> mm Bolt Centre-to-Edge-Distance: <boltCentreToEdgeDistance> mm Universal Constants Young's Modulus: 205·10³ N/mm² Poisson's Ratio: 0.30 Standard Sheet Dimensions Full Length Sheet: <fullLengthSheet> mm Full Height Sheet: <fullHeightSheet> mm Starter Height Sheet: <starterHeightSheet> mm Sheet dimensions are calculated between the joint centres. |
| --- | --- |

## Tank design summary

| Ring | Sheet Height (mm) | Sheet Thickness (mm) | Wind Stiffener Position | Bolt Grade | Sheet Configuration | Steel Type |
| --- | --- | --- | --- | --- | --- | --- |

<embebido> mm embedded in the foundation

Note - The symbol ¬ indicates the position of a Wind Stiffener at bottom edge of ring. If two ¬¬ symbols appear, it means that ring also has a Wind Stiffener in the middle of itself.

## Stress analysis

| Hydrostatic Hoop Stress |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ring | Head (m) | Hydrostatic Hoop Load (kN/m) | Net Tensile Stress (N/mm2) | Allowable Tensile Stress (N/mm2) | Hole Bearing Stress (N/mm2) | Allowable Bearing Stress (N/mm2) | Bolt Shear Stress (N/mm2) | Allowable Shear Stress (N/mm2) |

| Axial Stress |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ring | Axial Load (kN/m) | Axial Stress (N/mm2) | Allowable Axial Stress (N/mm2) | Hole Bearing Stress (N/mm2) | Allowable Bearing Stress (N/mm2) | Bolt Shear Stress (N/mm2) | Allowable Shear Stress (N/mm2) |

| Axial Stress including Wind |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ring | Axial Load (kN/m) | Axial Stress (N/mm2) | Allowable Axial Stress (N/mm2) | Hole Bearing Stress (N/mm2) | Allowable Bearing Stress (N/mm2) | Bolt Shear Stress (N/mm2) | Allowable Shear Stress (N/mm2) |

| Axial Stress including Seismic |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ring | Axial Load (kN/m) | Axial Stress (N/mm2) | Allowable Axial Stress (N/mm2) | Hole Bearing Stress (N/mm2) | Allowable Bearing Stress (N/mm2) | Bolt Shear Stress (N/mm2) | Allowable Shear Stress (N/mm2) |

| Combined Hydrodynamic (Seismic) and Hydrostatic Hoop Stresses |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ring | Total Hoop Load (kN/m) | Net Tensile Stress (N/mm2) | Allowable Tensile Stress (N/mm2) | Hole Bearing Stress (N/mm2) | Allowable Bearing Stress (N/mm2) | Bolt Shear Stress (N/mm2) | Allowable Shear Stress (N/mm2) |

Starter Ring Axial Stress including Seismic

Compressive load at base of shell: <compressiveLoadAtBaseOfShell> kN/m Compressive stress at base of shell: <compressiveStressAtBaseOfShell> N/mm2 Allowable compressive stress at base of shell: <allowableCompressiveStressAtBaseOfShell> N/mm2

## Foundation Loads

Tank Shell Dead Load: <tankShellDeadLoad> kN

Weight of Contents: <weightOfContents> kN

Wind Shear Force at Base: <windShearForceAtBase> kN

Wind Shear: <windShear> kN/m

Wind Overturning Moment: <windOverturningMoment> kNm

Maximum Axial Load Due to Wind OTM: <maximumAxialLoadDueToWindOTM> kN/m

Seismic Shear: <seismicShearA> kN

Seismic Shear: <seismicShearB> kN/m

Seismic OTM at Base of Shell: <seismicOTMatBaseOfShell> kNm

Maximum Axial Load Due to Seismic OTM at Base of Shell: <maximumAxialLoadDueToSeismic> kN/m

Seismic OTM at Top of Foundation (including Bottom Pressure): <seismicOTMatTopOfFoundation> kNm

Sloshing Wave: <sloshingWave> m

Minimum Freeboard Requirements: <minimumFreeboardRequirements> m Freeboard: <freeBoard> m

Is Freeboard OK:

Roof Dead Load: <roofDeadLoad> kN

Downward Roof Snow Load: <downwardRoofSnowLoad> kN

Downward Roof Access Load: <downwardRoofAccessLoad> kN

Roof Wind Uplift: <roofWindUplift> kN

Anchoring

Bottom Angle Type: <bottomAngleType> Bottom Angle Material: <bottomAngleMaterial> Is Bottom Angle Stress Ok: Anchor Type: Shear Keys Shear Keys Count per Sheet: <anchorsPerSheet> Tension per Shear Key Due to Moment: <tensionPerAnchorDueToMoment> kN Allowable Tension per Shear Key: <allowableTensionPerAnchor> kN Is Shear per Shear Key Ok:

## Installation

Jacking. Total Load for Jacking: <totalLoadForJacking> kN Jack Type: <jackType> Jack Arrangement: <jackArrangement> Number of Jacks: <numberOfJacks> Total Load per Jack: <totalLoadPerJack> kN Allowable Load per Jack: <allowableLoadPerJack> kN Is Jacking Load Ok:.